## Sheet2
Disclaimers: This list is not an exhaustive list and is current as of the date posted. For a complete list of assays, go to: https: //www.fda.gov/medical-devices/coronavirus-disease-2019-covid-19-emergency-use-authorizations-medical-devices/in-vitro-diagnostics-euas. Projects must execute the EUA instructions exactly as stated in the FDA authorization letter and IFU (information for use).
*Please refer to FDA communications (i.e. https://www.fda.gov/medical-devices/medical-device-safety/medical-device-recalls ) for applicable recalls or FDA notices on certain assays.
Quick Reference for Point of Care Testing Options with Emergency Use Authorization
Updated: 24 March 2022
Manufacturer | RADx-TECH/ATP | Test Name | Test Method | Specimen | CLIA Requirements | Indications for Use (Symptomatic/Asymptomatic) | Indications for Use (Symptomatic/Asymptomatic) - Detailed | Procurement Availability | EUA Letter | EUA Summary/IFU
Abbott Diagnostics Scarborough, Inc. | No | BinaxNOW COVID-19 Ag CARD | Antigen (LFA) | Anterior Nasal Swab | Certificate of Waiver | Asymptomatic or Symptomatic | "individuals with symptoms of COVID-19 within the first seven days of symptom onset" OR "individuals with or without symptoms or other epidemiological reasons to suspect COVID-19 infection when tested twice over three days with at least 24 hours (and no more than 48 hours) between tests" | Currently available, no known supply issues | https://www.fda.gov/media/141570/download | https://www.fda.gov/media/144576/download
Abbott Diagnostics Scarborough, Inc. | No | BinaxNow COVID 19 Ag 2 Card | Antigen (LFA) | Anterior Nasal Swab | Certificate of Waiver | Asymptomatic or Symptomatic | "individuals with symptoms of COVID-19 within the first seven days of symptom onset" OR "individuals with or without symptoms or other epidemiological reasons to suspect COVID-19 infection when tested twice over three days with at least 24 hours (and no more than 48 hours) between tests" | Pending Vendor Information | https://www.fda.gov/media/147264/download | https://www.fda.gov/media/147261/download
Abbott Diagnostics Scarborough, Inc. | No | IDNOW | Isothermal (Molecular) | All Respiratory Specimens | Certificate of Waiver | Symptomatic | qualitative detection of nucleic acid from the SARS-CoV-2 viral RNA in direct nasal, nasopharyngeal or throat swabs from individuals who are suspected of COVID-19 by their healthcare provider within the first seven days of the onset of symptoms | Currently available, no known supply issues | https://www.fda.gov/media/136522/download | https://www.fda.gov/media/136525/download
Abbott Diagnostics Scarborough, Inc. | No | IDNOW | Isothermal (Molecular) | All Respiratory Specimens | Certificate of Waiver | Symptomatic | Qualitative detection of nucleic acid from the SARS-CoV-2 virus in direct nasal, nasopharyngeal or throat swabs from individuals who are suspected of COVID-19 by their healthcare provider within the first seven days of the onset of symptoms | Currently available, no known supply issues | https://www.fda.gov/media/136522/download | https://www.fda.gov/media/136525/download
Access Bio, Inc. | No | CareStart COVID-19 Antigen | Antigen (LFA) | Anterior Nasal Swab and Nasopharyngeal Swab | Certificate of Waiver | Asymptomatic or Symptomatic | individuals suspected of COVID-19 by their healthcare provider within five days of symptom onset, or from individuals without symptoms or other epidemiological reasons to suspect COVID-19 when tested twice over two or three days with at least 24 hours and no more than 48 hours between tests | Currently available, no known supply issues | https://www.fda.gov/media/142916/download | https://www.fda.gov/media/142919/download
Access Bio | No | CareStart EZ COVID-19 IgM/IgG 06/24/2021 | Antibody (IgM and IgG): LFA | Fingerstick | Certificate of Waiver | Asymptomatic or Symptomatic | Intended for use as an aid in identifying individuals with an adaptive immune response to SARS-CoV-2, indicating recent or prior infection | Pending Vendor information | https://www.fda.gov/media/150422/download | https://www.fda.gov/media/150425/download
Access Bio | No | CareStart COVID-19 Antigen Home Test | Antigen (LFA) | Anterior Nasal Swab | Certificate of Waiver | Asymptomatic or Symptomatic | individuals aged 14 years or older (2-13 with adult collect) with symptoms of COVID-19 within the first 7 days of symptom onset or with or without symptoms or other epidemiological reasons to suspect COVID-19 when tested twice over three days with atleast 24 hours (and no more than 48 hours) between tests | Pending Vendor Information | https://www.fda.gov/media/151245/download | https://www.fda.gov/media/151248/download
Advaite | No | Rapcov Rapid Covid-19 test | LFA/IgG (Antibody) | Fingerstick | Certificate of Waiver | Asymptomatic or Symptomatic | Samples should only be tested from individuals that are 15 days or more post symptom onset | Pending Vendor Information | https://www.fda.gov/media/145075/download | https://www.fda.gov/media/145080/download
ANP Technologies Inc | Yes | NIDS COVID-19 Antigen Rapid Test Kit | Antigen (LFA) | Mid-turbinate Nasal Swab | Certificate of Waiver | Asymptomatic or Symptomatic | individuals who are suspected of having COVID-19 by their healthcare provider within the first seven (7) days of symptom onset or from individuals without symptoms or other epidemiological reasons to suspect COVID-19 when tested twice over two or three days with at least 24 hours and no more than 36 hours between tests. | Pending Vendor Information | https://www.fda.gov/media/152462/download | https://www.fda.gov/media/152464/download
Assure Tech | No | Assure COVID-19 IgG/IgM Rapid Test | LFA/IgG/IgM (Antibody) | Fingerstick | Certificate of Waiver | Asymptomatic or Symptomatic | Intended for use as an aid in identifying individuals with an adaptive immune response to SARS-CoV-2, indicating recent or prior infection. | Pending Vendor Information | https://www.fda.gov/media/139789/download | https://www.fda.gov/media/139792/download
Becton, Dickinson and Company (BD) | No | BD Veritor System for Rapid Detection of SARS-CoV-2 | Antigen/ELiSA | Anterior Nasal Swab | Certificate of Waiver | Asymptomatic or Symptomatic | Qualitative detection of SARS-CoV-2 nucleocapsid antigens in direct anterior nasal swabs from individuals who are either suspected of COVID-19 by their healthcare provider within the first five days of the onset of symptoms, or from individuals without symptoms or other epidemiological reasons to suspect COVID-19 when tested twice over two or three days with at least 24 hours and no more than 48 hours between tests | Pending Vendor information | https://www.fda.gov/media/139752/download | https://www.fda.gov/media/139755/download
Becton, Dickinson and Company (BD) | No | Veritor | Antigen; Instrument Reader | Anterior Nasal Swab | Certificate of Waiver | Asymptomatic or Symptomatic | Qualitative detection of SARS-CoV-2 nucleocapsid antigens in direct anterior nasal swabs from individuals who are either suspected of COVID-19 by their healthcare provider within the first five days of the onset of symptoms, or from individuals without symptoms or other epidemiological reasons to suspect COVID-19 when tested twice over two or three days with at least 24 hours and no more than 48 hours between tests. | Currently available, no known supply issues | https://www.fda.gov/media/139752/download | https://www.fda.gov/media/139755/download
Biofire diagnostics | No | Biofire Respiratory Panel 2.1-EZ (RP2.1-EZ) | RT-PCR (Molecular) | Nasopharyngeal Swab | Certificate of Waiver | Suspected of COVID by healthcare provider | A multiplexed polymerase chain reaction (PCR) test intended for the simultaneous qualitative detection and differentiation of nucleic acids from multiple viral and bacterial respiratory organisms, 1 including nucleic acid from the SARS-CoV-2 virus, in nasopharyngeal swabs (NPS) obtained from individuals suspected of respiratory infection consistent with COVID-19 by their healthcare provider | Pending vendor information | https://www.fda.gov/media/142693/download | https://www.fda.gov/media/142696/download
Celltrion USA, Inc. | No | Celltrion DiaTrust COVID-19 Ag Rapid Test | Antigen (LFA) | Nasopharyngeal Swab | Certificate of Waiver | Asymptomatic or Symptomatic | Qualitative detection of nucleocapsid and receptor binding domains (RBDs) from the SARS-CoV-2 in human nasopharyngeal swab specimens directly collected from individuals who are suspected of COVID-19 by their healthcare provider within the first seven days of symptom onset, or from individuals without symptoms or other epidemiological reasons to suspect COVID-19 when tested twice over two or three days with at least 24 hours and no more than 48 hours between tests | Pending Vendor Information | https://www.fda.gov/media/147691/download | https://www.fda.gov/media/147694/download
Cepheid | No | Xpert Xpress CoV-2/Flu/RSV plus | RT-PCR (Molecular) | Anterior Nasal Swab, Nasopharyngeal Swab, and Nasal Wash/Aspirate Specimen | Certificate of Waiver | Suspected of COVID by healthcare provider | Suspected of respiratory viral infection, consistent with COVID-19, by their healthcare provider | Pending Vendor information | https://www.fda.gov/media/152165/download | https://www.fda.gov/media/142438/download
Cepheid | No | Xpert Xpress SARS-COV-2 test | RT-qPCR (Molecular) | All Respiratory Specimens | Certificate of Waiver | Suspected of COVID by healthcare provider | Qualitative detection of nucleic acid from the SARS-CoV-2 in upper respiratory specimens (i.e., nasopharyngeal, oropharyngeal, nasal, or mid-turbinate swab or nasal wash/aspirate) collected from individuals suspected of COVID-19 by their healthcare provider | Currently available, no known supply issues | https://www.fda.gov/media/136316/download | https://www.fda.gov/media/136315/download
Cepheid | No | Xpert Xpress SARS/Flu/RSV | RT-qPCR (Molecular) | All Respiratory Specimens | Certificate of Waiver | Suspected of COVID by healthcare provider | Suspected of respiratory viral infection consistent with COVID-19 by their healthcare provider | Currently available, no known supply issues | https://www.fda.gov/media/142434/download | https://www.fda.gov/media/142438/download
Cue Health | No | The Cue COVID-19 Test | Isothermal (Molecular) | Anterior Nasal Swab | Certificate of Waiver | Asymptomatic or Symptomatic | Qualitative detection of nucleic acid from SARS-CoV-2 in direct anterior nasal swabs or in previously collected anterior nasal swab specimens in viral transport media from individuals with or without symptoms or other epidemiological reasons to suspect COVID-19. | Currently available, no known supply issues | https://www.fda.gov/media/138823/download | https://www.fda.gov/media/138826/download
Diabetomics Inc. | No | CovAb SARS-CoV-2 Ab Test | Antibody (LFA) | Gingival Crevicular Fluid | Certificate of Waiver | Symptomatic | Samples should only be tested from individuals that are 15 days or more post symptom onset | Pending Vendor information | https://www.fda.gov/media/149940/download | https://www.fda.gov/media/149943/download
Ellume Limited | No | ellume.lab COVID Antigen Test | Antigen (LFA) | Mid-turbinate Nasal Swab | Certificate of Waiver | Symptomatic | Qualitative detection of the nucleocapsid protein antigen from SARS-CoV-2 in direct mid-turbinate nasal swab specimens from individuals who are suspected of COVID-19 by their healthcare provider within the first six days of symptom onset. | Pending Vendor information | https://www.fda.gov/media/150684/download | https://www.fda.gov/media/150687/download
GenBody | Yes | GenBody COVID-19 Ag | Antigen (LFA) | Anterior Nasal Swab and Nasopharyngeal Swab | Certificate of Waiver | Symptomatic | Qualitative detection of nucleocapsid protein antigen from SARSCoV-2 in direct nasopharyngeal swab (NP) specimens from individuals who are suspected of COVID-19 by their healthcare provider within the first six days of symptom onset. | Pending Vendor information | https://www.fda.gov/media/150785/download | https://www.fda.gov/media/150788/download
Hangzhou Biotest Biotech Co., Ltd. | No | Right sign | LFA/IgG/IgM (Antibody) | Fingerstick | Certificate of Waiver | Asymptomatic or Symptomatic | Intended for use as an aid in identifying individuals with an adaptive immune response to SARS-CoV-2, indicating recent or prior infection | Pending Vendor Information | https://www.fda.gov/media/138657/download | https://www.fda.gov/media/138660/download
iHealth Labs, Inc. | No | iHealth COVID-19 Antigen Rapid Test Pro | Antigen (LFA) | Anterior Nasal Swab | Certificate of Waiver | Asymptomatic or Symptomatic | "individuals who are suspected of COVID-19 by their healthcare provider within the first seven (7) days of symptom onset" OR "from individuals without symptoms or other epidemiological reasons to suspect COVID-19 when tested twice over three days with at least 24 hours and no more than 48 hours between tests" | Pending Vendor information | https://www.fda.gov/media/155487/download | https://www.fda.gov/media/155490/download
InBios International, Inc. | No | SCoV-2 Ag Rapid Detect test |  | Anterior Nasal Swab | Certificate of Waiver | Asymptomatic or Symptomatic | within 5 days of symptom onset or from individuals without symptoms or other epidemiological reasons to suspect COVID-19 when tested twice over two or three days with at least 24 hours and no more than 48 hours between tests | pending vendor information | https://www.fda.gov/media/148349/download | https://www.fda.gov/media/148353/download
InBios International, Inc. | No | SCoV-2 Detect IgG Rapid Test | IgG, LFA (Antibody) | Fingerstick | Certificate of Waiver | Asymptomatic or Symptomatic | intended for use as an aid in identifying individuals with an adaptive immune response to SARS-CoV-2, indicating recent or prior infection. | Pending Vendor Information | https://www.fda.gov/media/151818/download | https://www.fda.gov/media/151817/download
Lucira Health, Inc. | No | Lucira All in One COVID-19 Test kit | RT Lamp (Molecular) | Anterior Nasal Swab | Certificate of Waiver | Suspected of COVID by healthcare provider | This test is for prescription home use with self collected nasal swab specimens in individuals aged 14 and older who are suspected of COVID-19 by their healthcare provider. This test is also authorized for use at the point of care (POC), in patient care settings operating under a CLIA Certificate of Waiver, Certificate of Compliance, or Certificate of Accreditation, with self-collected nasal swab specimens in individuals aged 14 and older, and in individuals aged 13 and under when the specimen is collected by a healthcare provider at the POC. This test utilizes a molecular amplification technology for the detection of SARS-CoV-2 RNA in individuals with known or suspected COVID-19. | Currently available, no known supply issues | https://www.fda.gov/media/143810/download | https://www.fda.gov/media/143808/download
Luminostics, Inc. | Yes | Clip COVID Rapid Antigen Test | Antigen (LFA) | Anterior Nasal Swab | Certificate of Waiver | Asymptomatic or Symptomatic | Qualitative detection of the nucleocapsid protein antigen from SARS-CoV-2 directly from anterior nasal swab specimens collected from individuals who are suspected of COVID-19 by their healthcare provider within the first five days of onset of symptoms, or individuals without symptoms or other epidemiological reasons to suspect COVID-19, when tested twice over three days with at least 24 hours and no more than 48 hours between tests. | Available via RADx-TECH/ATP channel | https://www.fda.gov/media/144253/download | https://www.fda.gov/media/144256/download
Lumira Dx UK LTD. | No | LumiraDx SARS-CoV-2 Ab Test | Antibody: Total | Fingerstick | Certificate of Waiver | Symptomatic | Samples should only be tested from individuals that are 15 days or more post-symptom onset. | Pending Vendor Information | https://www.fda.gov/media/151249/download | https://www.fda.gov/media/151252/download
LumiraDx | No | LumiraDx SARS-CoV-2 Ag Test | Antigen (LFA) | Anterior Nasal Swab and Nasopharyngeal Swab | Certificate of Waiver | Symptomatic | Qualitative detection of the nucleocapsid protein antigen to SARSCoV-2 directly from anterior nasal swab and nasopharyngeal swab specimens collected from individuals who are suspected of COVID-19 by their healthcare provider within the first twelve days of the onset of symptoms. | Currently available, no known supply issues | https://www.fda.gov/media/141301/download | https://www.fda.gov/media/141304/download
Megna Health, Inc. | No | Rapid COVID-19 IgG/IgM Combo test kit | IgG,IgM, LFA (Antibody) | Fingerstick | Certificate of Waiver | Asymptomatic or Symptomatic | Intended for use as an aid in identifying individuals with an adaptive immune response to SARS-CoV-2, indicating recent or prior infection. | pending vendor information | https://www.fda.gov/media/140294/download | https://www.fda.gov/media/140297/download
Mesa BioTech | No | Accula SARS-CoV-2 | RT-PCR + LFA (Molecular) | Nasal Swab and Mid-turbinate Swab | Certificate of Waiver | Suspected of COVID by healthcare provider | Qualitative, visual detection of nucleic acid from the SARS-CoV-2 in clinician-collected nasal or nasal mid-turbinate swab samples or clinician-instructed self-collected (collected on site) nasal swab specimens collected from individuals suspected of COVID-19 by their healthcare provider | Available via RADx-TECH/ATP channel | https://www.fda.gov/media/136345/download | https://www.fda.gov/media/136355/download
Minute Molecular Diagnostics, Inc. |  | DASH SARS-CoV-2/S Test | RT-PCR (Molecular) | Anterior Nasal Swab | Certificate of Waiver, Certificate of Compliance, Certificate of Accreditation | Suspected of COVID-19 by healthcare provider | "This test is authorized for the qualitative detection of nucleic acid from SARS-CoV-2 in direct anterior nasal swab specimens from individuals suspected of COVID-19 by their healthcare provider." |  | https://www.fda.gov/media/156976/download | https://www.fda.gov/media/156979/download
Nano-Ditech Corp. | No | Nano-Check COVID-19 Antigen Test | Antigen (LFA) | Nasopharyngeal Swab | Certificate of Waiver | Asymptomatic or Symptomatic | individuals who are suspected of COVID-19 by their healthcare provider within the first five (5) days of symptom onset, or from individuals without symptoms or other epidemiological reasons to suspect COVID-19 when tested twice over two or three days with at least 24 hours and no more than 48 hours between tests |  | https://www.fda.gov/media/154715/download | https://www.fda.gov/media/154718/download
Nirmidas Biotech, Inc. | No | Mida Spot | LFA/IgG/IgM (Antibody) | Fingerstick | Certificate of Waiver | Symptomatic | Samples should be collected from individuals greater than 7 days following the onset of symptoms. Samples should not be tested if collected from individuals less than 8 days post symptom onset. | Currently available, no known supply issues | https://www.fda.gov/media/144874/download | https://www.fda.gov/media/144877/download
NOWDiagnostics Inc. | No | AdexusDx COVID-19 Test | Antibody (LFA) | Fingerstick | Certificate of Waiver | Symptomatic | Samples should be collected from individuals that are ≥ 8 days post symptom onset. Samples should not be tested if collected from individuals less than 8 days post symptom onset. | Pending vendor information. | https://www.fda.gov/media/149438/download | https://www.fda.gov/media/149441/download
Oceanit Foundry LLC |  | ASSURE-100 Rapid COVID-19 Test | Antigen (LFA) | Anterior Nasal Swab | Certificate of Waiver, Certificate of Compliance, Certificate of Accreditation | Symptomatic | "from individuals who are suspected of COVID-19 by their healthcare provider within the first eight (8) days of symptom onset" |  | https://www.fda.gov/media/156638/download | https://www.fda.gov/media/156641/download
OraSure Technologies Inc. | No | InteliSwab COVID-19 Rapid Test Pro | LFA, Serial Screening (Antibody) | Anterior Nasal Swab | Certificate of Waiver | Asymptomatic or Symptomatic | The test is authorized for individuals who are suspected of COVID-19 by their healthcare provider within 7 days of symptom onset or from individuals without symptoms or other epidemiological reasons to suspect COVID-19 when tested twice over two or three days with at least 24 hours and no more than 48 hours between tests. | Pending Vendor Information | https://www.fda.gov/media/149913/download | https://www.fda.gov/media/149918/download
Phase Scientific International Ltd. | No | INDICAID COVID-19 Rapid Antigen Test | Antigen (LFA) | Anterior Nasal Swab | Certificate of Waiver | Asymptomatic or Symptomatic | Qualitative detection of nucleocapsid protein antigen from SARSCoV-2 in direct anterior nasal swab specimens from individuals who are suspected of COVID-19 by their healthcare provider within the first five (5) days of symptom onset or from individuals without symptoms or other epidemiological reasons to suspect COVID-19 when tested twice over two or three days with at least 24 hours and no more than 48 hours between tests. Anterior nasal swab specimens may be collected by a healthcare provider (HCP) or self-collected (by individuals 18 years of age or older, under the supervision of an HCP). | Pending Vendor information | https://www.fda.gov/media/151212/download | https://www.fda.gov/media/151215/download
Princeton Biomedtech Inc | No | Covid-19/Flu | Antigen (LFA) | Anterior Nasal Swab and Nasopharyngeal Swab | Certificate of Waiver | Symptomatic | individuals, who are suspected of respiratory viral infection consistent with COVID-19 by their healthcare provider, within the first five days of onset of symptoms | Pending Vendor Information | https://www.fda.gov/media/145694/download | https://www.fda.gov/media/145697/download
Quidel Corporation | Yes | Sofia SARS Antigen FIA | Antigen; Instrument Reader | Anterior Nasal Swab | Certificate of Waiver | Asymptomatic or Symptomatic | individuals who are either suspected of COVID-19 by their healthcare provider within the first five days of the onset of symptoms, or from individuals without symptoms or other epidemiological reasons to suspect COVID-19 when tested twice over two or three days with at least 24 hours and no more than 36 hours between tests | Available via RADx-TECH/ATP channel | https://www.fda.gov/media/137886/download | https://www.fda.gov/media/137885/download
Quidel Corporation | Yes | QuickVue SARS Antigen Test | Antigen (LFA) | Anterior Nasal Swab | Certificate of Waiver | Asymptomatic or Symptomatic | individuals who are suspected of COVID-19 by their healthcare provider within the first five days of the onset of symptoms or from individuals without symptoms or other epidemiological reasons to suspect COVID-19 when tested twice over two or three days with at least 24 hours and no more than 36 hours between tests | Available via RADx-TECH/ATP channel | https://www.fda.gov/media/144665/download | https://www.fda.gov/media/144668/download
Roche Molecular Systems | No | cobas SARS-CoV-2 Nucleic acid test for use on the cobas Liat System (cobas SARS-CoV-2) 06/17/2021 | RT-PCR (Molecular) | Anterior Nasal Swab, Nasopharyngeal Swab, and Mid-turbinate Swab | Certificate of Waiver | Asymptomatic or Symptomatic | from either individuals suspected of COVID19 by their healthcare provider or from any individual, including from individuals without symptoms or other reasons to suspect COVID-19 | Pending Vendor Information | https://www.fda.gov/media/150274/download | https://www.fda.gov/media/150278/download
Roche Molecular systems Inc. | No | Cobas Sars-CoV-2 and Flu A/B | RT-PCR (Molecular) | Nasal Swab and Nasopharyngeal Swab | Certificate of Waiver | Suspected of COVID by healthcare provider | individuals suspected of respiratory viral infection consistent with COVID-19 by their healthcare provider | Currently available, no known supply issues | https://www.fda.gov/media/141884/download | https://www.fda.gov/media/142193/download
Salofa Oy | No | Sienna Clarity COVIBLCK | LFA/IgG/IgM (Antibody) | Fingerstick | Certificate of Waiver | Symptomatic | Samples should only be tested from individuals that are 15 days or more post symptom onset | Pending Vendor Information | https://www.fda.gov/media/140079/download | https://www.fda.gov/media/140082/download
Salofa Oy | No | Sienna-Clarity COVID-19 Antigen Rapid Test Cassette | Antigen | Nasopharyngeal Swab | Certificate of Waiver | Symptomatic | individuals who are suspected of COVID-19 by their healthcare provider within the first six days of symptom onset | Pending Vendor | https://www.fda.gov/media/149056/download | https://www.fda.gov/media/149055/download
Sugentech, Inc. | No | SGTi-flex COVID-19 IgG | IgG, LFA (Antibody) | Fingerstick | Certificate of Waiver | Symptomatic | Samples should only be tested from individuals that are 15 days or more post symptom onset | pending vendor information. | https://www.fda.gov/media/141888/download | https://www.fda.gov/media/141891/download
Talis Biomedical Corporation | No | Talis One COVID-19 Test System | NAAT/RT, Isothermal amplification | Mid-turbinate Nasal Swab | Certificate of Waiver | Suspected of COVID by healthcare provider | individuals suspected of COVID-19 by their healthcare provider | pending vendor information | https://www.fda.gov/media/153940/download | https://www.fda.gov/media/153943/download
Uh-Oh Labs Inc |  | UOL COVID-19 Test | NAAT/RT, Isothermal amplification | Anterior Nasal Swab | Certificate of Waiver | Suspected of COVID by healthcare provider | individuals suspected of COVID-19 by their healthcare provider | pending vendor information | https://www.fda.gov/media/156099/download | https://www.fda.gov/media/156102/download
Visby Medical, Inc. | No | Visby Medical COVID-19 POC Test | RT-PCR (Molecular) | Anterior Nasal Swab, Nasopharyngeal Swab, and Mid-turbinate Swab | Certificate of Waiver | Suspected of COVID by healthcare provider | collected at home (which includes in a community-based setting) with adult assistance from individuals 2 | Currently limited availability, can check via RADx Tech/ATP channel | https://www.fda.gov/media/145914/download | https://www.fda.gov/media/145917/download
Xtrava Health | Yes | SPERA COVID-19 Ag Test | Antigen (LFA) | Anterior Nasal Swab | Certificate of Waiver | Symptomatic | years of age or older, or self-collected by any individuals 15 years of age or older, including from | pending vendor inforamtion | https://www.fda.gov/media/153093/download | https://www.fda.gov/media/153096/download
LFA: Lateral Flow Immunoassay