## Molecular + Saliva
Authorized Molecular Diagnostic Tests for SARS-CoV-2
2022-03-24
Saliva Quick Reference Guide (Molecular Tests Only)
Disclaimers: This list is not an exhaustive list and is current as of the date posted. For a complete list of assays, go to: https: //www.fda.gov/medical-devices/coronavirus-disease-2019-covid-19-emergency-use-authorizations-medical-devices/in-vitro-diagnostics-euas Projects must execute the EUA instructions exactly as stated in the FDA authorization letter and IFU (information for use).
*Please refer to FDA communications (i.e. https://www.fda.gov/medical-devices/medical-device-safety/medical-device-recalls ) for applicable recalls or FDA notices on certain assays.
Entity | Assay Name | Attributes | Test Method | Rx? | supervision | Indication per EUA/IFU | Test at home | Home Collection | Serial Testing? | Pooled Testing? | Age | Authorized Setting(s) | collection device | Diagnostic target | Testing authorization per EUA | Most Recent EUA Letter of Authorization | EUA Summary/IFU
3B Blackbio Biotech India Ltd., a subsidiary of Kilpest India Ltd. | TRUPCR® SARS-CoV-2 Kit | Real-time RT-PCR, Saliva | RT-PCR | Yes | Supervised | suspected of COVID-19 by their healthcare provider | No | No | No | No | Not Listed | H | OMNIgene·ORAL OM-505/OME-505 saliva collection device | N,RdRP,E,RnaseP | Laboratories certified under the Clinical Laboratory Improvement Amendments of 1988 (CLIA), 42 U.S.C. §263a, that meet requirements to perform high complexity tests. | TRUPCR SARS-CoV-2 Kit | IFU
Ambry Genetics Laboratory | Ambry COVID-19 RT-PCR Test | Real-time RT-PCR, Home Collection, Saliva | RT-PCR | Yes | Supervised/Unsupervised | suspected of COVID-19 by their healthcare provider | No | DNA: No Ambry: Yes | No | No | DNA: not listed Ambry: 18 years and older (self-collected), 15 years and older (self-collected under adult supervision), or 4 years and older (collected with adult assistance) | H | DNA Genotek OMNIgene·ORAL OM-505/OME-505 saliva collection device (healthcare setting) & Ambry COVID-19 RT-PCR Test Saliva Collection Kit(home collection) | ORF1ab,N,S,MS2 | Testing is limited to Ambry Genetics Laboratory located at 7 Argonaut, Aliso Viejo, CA 92656, which is certified under Clinical Laboratory Improvement Amendments of 1988 (CLIA), 42 U.S.C. §263a, and meets requirements to perform high complexity tests | Ambry COVID-19 RT-PCR Test | EUA Summary
Biofire Defense LLC | BioFire COVID-19 Test | RT,Nested Multiplex PCR, Saliva | RT-PCR | Yes | Supervised | individuals suspected of COVID-19 by their healthcare provider | No | No | No | No (Pooled testing is limited to upper respiratory specimens) | Not listed | H,M | Sterle container without preservatives (No specific collection device listed) | ORF1ab,ORF8 | Testing of non-pooled specimens is limited to laboratories certified under the Clinical Laboratory Improvement Amendments of 1988 (CLIA), 42 U.S.C. §263a, that meet the requirements to perform high or moderate complexity tests and similarly qualified U.S. Department of Defense (DoD) and non-U.S. laboratories. | BioFire COVID-19 Test | IFU
Clinical Reference Laboratory, Inc. | CRL Rapid Response | Real-time RT-PCR, Home Collection, Saliva | RT-PCR | Yes | Supervised/Unsupervised | individuals suspected of COVID-19 by a healthcare provider | No | Yes | No | No | Not Listed | H | CRL COVID-19 Self Collection Testing Kit | RdRp gene | The CRL Rapid Response test will be performed at Clinical Reference Laboratory, Inc., located at 8433 Quivira Rd., Lenexa, KS 66215 which is certified under the Clinical Laboratory Improvement Amendments of 1988 (CLIA), 42 U.S.C. §263a, and meets requirements to perform high-complexity tests, per the Standard Operating Procedures that were reviewed by the FDA under this EUA. | CRL Rapid Response | EUA Summary
DxTerity Diagnostics, Inc. | DxTerity SARS-CoV-2 RT-PCR CE Test | RT-PCR, Home Collection, Saliva | RT-PCR | Yes | Unsupervised | any individuals determined to be appropriate for COVID-19 testing by their healthcare provider (HCP), including from individuals without symptoms of COVID-19. | No | Yes | No | No | 18 years old or older (17 years of age and younger with adult supervision to assist) | H | DxTerity COVID-19 Test Collection Kit | N,E,ORF1ab,RNaseP | Testing is limited to DxTerity Diagnostics, Inc. located at 19500 S. Rancho Way, Suite 116, Rancho Dominguez, CA 90220, which is certified which is certified under Clinical Laboratory Improvement Amendments of 1988 (CLIA), 42 U.S.C. §263a, and meets requirements to perform high complexity tests. | DxTerity SARS-CoV-2 RT PCR CE Test | EUA Summary
DxTerity Diagnostics, Inc. | DxTerity SARS-CoV-2 RT-PCR Test | Real-time RT-PCR, Saliva | RT-PCR | Yes | Supervised | individuals suspected of COVID-19 by their healthcare provider | No | No | No | No | Not Listed | H | Spectrum Solutions LLC SDNA-1000 Saliva Collection Device | N,S,ORF1ab | Testing is limited to the DxTerity Diagnostics, Inc. laboratory located at 19500 S. Rancho Way, Suite 116, Rancho Dominguez, CA 90220 which is certified under Clinical Laboratory Improvement Amendments of 1988 (CLIA), 42 U.S.C. §263a, and meets requirements to perform high complexity tests. | DxTerity SARS-CoV-2 RT-PCR Test | EUA Summary
Express Gene LLC, DBA: Express Gene Molecular Diagnostics Laboratory | Express Gene 2019-nCoV RT-PCR Diagnostic Panel | Real-time RT-PCR, Collection Kit, Saliva | RT-PCR | Yes | Supervised | individuals suspected of COVID-19 | No | No | No | No | Not Listed | H | mLife True Oral Fluid/Viral Collection Kit | ORF1ab,N,S,MS2 | Testing is limited to laboratories designated by Express Gene LLC, DBA: Express Gene Molecular Diagnostics Laboratory which are certified under Clinical Laboratory Improvement Amendments of 1988 (CLIA), 42 U.S.C. §263a, and meet the requirements to perform high complexity tests | Express Gene 2019-nCoV RT-PCR Diagnostic Panel | EUA Summary
Fluidigm Corporation | Advanta Dx SARS-CoV-2 RT-PCR Assay | Real-time RT-PCR, Saliva, Home Collection | RT-PCR | Yes | Supervised/Unsupervised | patients suspected of COVID-19 by their healthcare providers | No | Yes | No | No | Not Listed | H | AZOVA COVID-19 Test Collection Kit | N1,N2,RNaseP | Laboratories certified under the Clinical Laboratory Improvement Amendments of 1988 (CLIA), 42 U.S.C. §263a, that meet requirements to perform high complexity tests. | Advanta Dx SARS-CoV-2 RT-PCR Assay | IFU
Gravity Diagnostics, LLC | Gravity Diagnostics SARS-CoV-2 RT-PCR Assay | Real-time RT-PCR, Saliva, Screening | RT-PCR | Yes | Supervised | individuals suspected of COVID-19 by an HCP due to symptoms | No | No | No | No | Not Listed | H | Spectrum Solutions LLC SDNA-1000 Saliva Collection Device | N,S,Orf1ab,RnaseP | Testing is limited to Gravity Diagnostics, LLC, located at 632 Russell Street, Covington, KY 41011 and 812 Russell Street, Covington, KY 41011, which are certified under the Clinical Laboratory Improvement Amendments of 1988 (CLIA), 42 U.S.C. §263a, and meet requirements to perform high complexity tests. | Gravity Diagnostics SARS-CoV-2 RT-PCR Assay | EUA Summary
Infinity BiologiX LLC | Infinity BiologiX TaqPath SARS-CoV-2 Assay | Real-time RT-PCR, Home Collection, Saliva, Pooling | RT-PCR | Yes | Supervised/Unsupervised | When determined to be appropriate by a healthcare provider | No | Yes | No | Yes; "pooled saliva samples containing up to 5 individual saliva specimens that are self-collected at home using the IBX Saliva Collection Kit or that are collected in a healthcare setting by individuals using the Spectrum Solutions SDNA-1000 Saliva Collection Device, when determined to be appropriate by a healthcare provider" | Not Listed | H | self-collected at home using the IBX Saliva Collection Kit or collected in a healthcare setting by individuals using the Spectrum Solutions SDNA-1000 Saliva Collection Device | N,S,ORF1ab | Testing is limited to Infinity BiologiX LLC laboratories, located at Nelson Biological Sciences, C-Wing, 604 Allison Road, Piscataway, NJ 08854 and 3510 Hopkins Place, Bldg 4, Oakdale, MN 55128, which are certified under Clinical Laboratory Improvement Amendments of 1988 (CLIA), 42 U.S.C. §263a and meet requirements to perform high-complexity tests. | Infinity BiologiX TaqPath SARS-CoV-2 Assay | EUA Summary
Life Technologies Corporation (a part of Thermo Fisher Scientific Inc.) | TaqPath COVID-19 Fast PCR Combo Kit 2.0 | Real-time RT-PCR, Saliva | RT-PCR | Yes | Supervised | individuals suspected of COVID-19 by their healthcare provider | No | No | No | No | Not Listed | H | sterile container using SalivaReady solution | ORF1a,ORF1b,N,RNaseP | Laboratories certified under the Clinical Laboratory Improvement Amendments of 1988 (CLIA), 42 U.S.C. §263a, that meet requirements to perform high complexity tests. | TaqPath COVID-19 Fast PCR Combo Kit 2.0 | IFU
Mount Sinai Hospital Center for Clinical Laboratories | Mount Sinai SARS-CoV-2 Assay | Real time PCR, Home Collection,Screening,Saliva | RT-PCR | Yes | unsupervised | any individuals within age limit, including from individuals without symptoms or other reasons to suspect COVID-19, when determined to be appropriate by a healthcare provider. | No | Yes | Yes | No | 18 years and older (self-collected), 14 years and older (self-collected under adult supervision), or 5 years and older (collected with adult assistance | H | Mount Sinai SARS-CoV-2 Collection Kit | N,ORF1ab | Testing is limited to Mount Sinai COVID Laboratory, located at 281 First Avenue, 12th Floor Dazian Building, Room 1201, New York, NY 10003, which is certified under Clinical Laboratory Improvement Amendments of 1988 (CLIA), 42 U.S.C. §263a, and meets requirements to perform high complexity tests. | Mount Sinai SARS-CoV-2 assay | EUA Summary
NeuMoDx Molecular, Inc. | NeuMoDx SARS-CoV-2 Assay | RT-PCR, Collection Kit, Saliva | RT-PCR | Yes | Supervised | individuals suspected of COVID-19 as determined by a HCP due to symptoms | No | No | No | No | Not Listed | H, M | NeuMoDx Saliva Collection Kit | Nsp2,N | Laboratories certified under the Clinical Laboratory Improvement Amendments of 1988 (CLIA), 42 U.S.C. §263a, that meet requirements to perform moderate or high complexity tests. | NeuMoDx SARS-CoV-2 Assay | IFU
P23 Labs, LLC. | P23 Labs TaqPath SARS-CoV-2 Assay | Real-time RT-PCR, Home Collection, Saliva | RT-PCR | Yes | Supervised/Unsupervised | when determined to be appropriate by an HCP | No | Yes | No | No | Not Listed | H | P23 At-Home COVID-19 Test Collection Kit | N,S,ORF1ab | Testing is limited to laboratories designated by P23 Labs, LLC (P23), that are certified under Clinical Laboratory Improvement Amendments of 1988 (CLIA), 42 U.S.C. §263a, and meet requirements to perform high complexity tests. | P23 Labs TaqPath SARS-CoV-2 Assay | EUA Summary
PerkinElmer, Inc. | PerkinElmer New Coronavirus Nucleic Acid Detection Kit | Real-time RT-PCR, Screening, Saliva | RT-PCR | Yes | Supervised | individuals suspected of COVID-19 | No | No | Yes | No. Pooled testing is for upper respiratory specimens only. | Not Listed | H | SalivaSecure Saliva Collection Kit | ORF1ab,N, | Testing is limited to laboratories certified under the Clinical Laboratory Improvement Amendments of 1988 (CLIA), 42 U.S.C. §263a, that meet requirements to perform high complexity tests. | PerkinElmer New Coronavirus Nucleic Acid Detection Kit | IFU
Phosphorus Diagnostics LLC | Phosphorus COVID-19 RT-qPCR Test | Real-time RT-PCR, Home Collection, Saliva, Screening | RT-PCR | Yes | Unsupervised | individuals suspected of COVID-19 | No | Yes | No | No | 18 years of age or older | H | Phosphorus COVID-19 Test Home Collection Kit | N1,N2 | Testing is limited to laboratories designated by Phosphorus Diagnostics LLC that are certified under Clinical Laboratory Improvement Amendments of 1988 (CLIA), 42 U.S.C. §263a, to perform high complexity tests. | Phosphorus COVID-19 RT-qPCR Test | EUA Summary
Phosphorus Diagnostics LLC | Pinpoint by Phosphorus COVID-19 Test Home Collection Kit | Direct to Consumer (DTC), Home Collection Kit, Saliva, Screening | RT-PCR | No | Unsupervised | indicated for testing any individuals, including individuals without symptoms or other reasons to suspect COVID-19 | No | Yes | No | No | 18 years of age or older | N/A | Pinpoint by Phosphorus COVID-19 Test Home Collection Kit DTC | collection device/ "IVD Molecular TEST" | Testing is limited to laboratories designated by Phosphorus Diagnostics LLC that are certified under the Clinical Laboratory Improvement Amendments of 1988 (CLIA), 42 U.S.C. §263a, and meet requirements to perform high complexity tests. | Pinpoint by Phosphorus COVID-19 Test Home Collection Kit DTC | IFU
Quadrant Biosciences Inc. | Clarifi COVID-19 Test Kit | Real-time RT-PCR, Saliva, Pooling | RT-PCR | Yes | Supervised | individuals who are suspected of COVID-19 by their healthcare provider | No | No | No | yes/up to 12 individuals | Not Listed | H | ORAcollect•RNA (OR-100/ORE-100) or the OMNIgene•ORAL (OM-505/OME-505) collection device. | RdRp gene | Laboratories certified under the Clinical Laboratory Improvement Amendments of 1988 (CLIA), 42 U.S.C. §263a, that meet requirements to perform high complexity tests. | Clarifi COVID-19 Test Kit | IFU
Rheonix, Inc. | Rheonix COVID-19 MDx Assay | RT-PCR, Saliva | RT-PCR | Yes | Supervised | individuals who are suspected of COVID-19 by their healthcare provider. | No | No | No | No | Not Listed | H | Rheonix collevtion kit | N1,RnaseP | Laboratories certified under the Clinical Laboratory Improvement Amendments of 1988 (CLIA), 42 U.S.C. §263a, that meet requirements to perform high complexity tests. | Rheonix COVID-19 MDx Assay | IFU
Southern California Permanente Medical Group | Kaiser Permanente High Throughput SARS-CoV-2 Assay | Real-Time RT-PCR, Saliva, Home Collection | RT-PCR | Yes | Unsupervised | individuals suspected of COVID-19 by their healthcare provider. | No | Yes | No | No | Not Listed | H | Spectrum Solutions LLC SDNA-1000 Saliva Collection Device. | N,S,ORF1ab | Testing is limited to the Southern California Permanente Medical Group - Regional Reference Laboratory (SCPMG-RRL) located at 13000 Peyton Drive, Chino Hills, CA 91709 which is certified under Clinical Laboratory Improvement Amendments of 1988 (CLIA), 42 U.S.C. §263a, and meets requirements to perform high complexity tests. | Kaiser Permanente High Throughput SARS-CoV-2 Assay | EUA Summary
University of Illinois Office of the Vice President for Economic Development and Innovation | covidSHIELD | Real-time RT-PCR, Saliva, Serial Screening, Home Collection, Pooling, Multiple Targets | RT-PCR | Yes | Supervised | Assay: "individuals who are either suspected of COVID-19 by their healthcare provider" OR "from individuals without symptoms or other epidemiological reasons to suspect COVID-19 when tested at least weekly and with no more than 168 hours between tests" SHIELD Saliva Collection Kit: "when determined to be appropriate by a healthcare provider" | No | Yes | "individuals without symptoms or other epidemiological reasons to suspect COVID-19 when tested at least weekly and with no more than 168 hours between tests" | Yes/up to 8 individual saliva specimens | Assay: None Listed SHIELD Saliva Collection Kit: 16 years and older (self-collected), 6-15 years and older (adult assisted) | H | sterile collection tube or into a sterile collection tube with straw or SHIELD Saliva Collection Kit | N,S,ORF1ab | Laboratories designated by the University of Illinois Office of the Vice President for Economic Development and Innovation, that includes the University of Illinois Veterinary Diagnostic Laboratory, University of Illinois Urbana Champaign School of Veterinary Medicine, located at 2001 S. Lincoln Ave, Urbana, IL 61802, that are also certified under the Clinical Laboratory Improvement Amendments of 1988 (CLIA), 42 U.S.C. §263a, and meet requirements to perform high complexity tests. | covidSHIELD | EUA Summary
WREN Laboratories LLC | WREN Laboratories COVID-19 PCR Test | Real-time RT-PCR, Home Collection, Saliva, Screening | RT-PCR | Yes | Supervised if under 18 years | individuals suspected of COVID-19 as determined by HCP | No | Yes | "from individuals without symptoms or other epidemiological reasons to suspect COVID-19 infection when tested at least weekly and with no more than 168 hours between tests" | No | 18 years and older (self-collected), 14 years and older (self-collected under adult supervision), or 5 years and older (collected with adult assistance) | H | COVID-19 Saliva Test Collection Kit | N1,N3,RnaseP | Testing is limited to laboratories designated by WREN Laboratories LLC that are certified under the Clinical Laboratory Improvement Amendments of 1988 (CLIA), 42 U.S.C. §263a and meet requirements to perform high-complexity tests. | WREN Laboratories COVID-19 PCR Test | EUA Summary
WREN Laboratories LLC | WREN Laboratories COVID-19 PCR Test DTC | Direct to Consumer (DTC), Real-time RT-PCR, Home Collection, Saliva Screening | RT-PCR | No | Unsupervised | individuals suspected of COVID-19 | No | Yes | No | No | Not Listed | H | WREN Laboratories COVID-19 Saliva Test Collection Kit DTC | N1,N3,RnaseP | Testing is limited to laboratories designated by WREN Laboratories LLC that are certified under the Clinical Laboratory Improvement Amendments of 1988 (CLIA), 42 U.S.C. §263a., and meet requirements to perform high-complexity tests. | WREN Laboratories COVID-19 PCR Test DTC | EUA Summary
Yale School of Public Health, Department of Epidemiology of Microbial Diseases | SalivaDirect for use with DTC Kits | Real-time RT-PCR, Saliva, Home Collection, Screening | RT-PCR | No | Supervised if under 18 years | "any individuals, including individuals without symptoms or other reasons to suspect COVID-19, using the SalivaDirect DTC Saliva Collection Kit, when used consistent with its authorization" | No | Yes | No | Yes; " pooled samples containing up to five individual saliva specimens (using specified workflows) that are collected at home (which includes in a community-based setting) from any individuals, including individuals without symptoms or other reasons to suspect COVID-19" | Assay: None SalivaDirect DTC Saliva Collection Kit: 18 years and older (self-collected), 14 years and older (self-collected under adult supervision using a straw or funnel), or 2 years and older (collected with adult assistance using a straw or funnel) | H | SalivaDirect DTC Saliva Collection Kit | N1, RNAse P | Laboratories designated by the Yale School of Public Health, Department of Epidemiology of Microbial Diseases, that includes the Clinical Molecular Diagnostics Laboratory, Department of Pathology, Yale School of Medicine, located at 310 Cedar St., New Haven, CT 06510 that are also certified under the Clinical Laboratory Improvement Amendments of 1988 (CLIA), 42 U.S.C. §263a and meet the requirements to perform high complexity tests | SalivaDirect for use with DTC Kits | EUA Summary
Yale School of Public Health, Department of Epidemiology of Microbial Diseases | SalivaDirect | Real-time RT-PCR, Saliva, Home Collection, Screening | RT-PCR | Yes | Supervised if under 18 years | "any individuals, including individuals without symptoms or other epidemiological reasons to suspect COVID-19" | No | Yes | No | Yes; "pooled samples containing up to five individual saliva specimens (tested using specified workflows) that are collected from any individuals, including individuals without symptoms or other epidemiological reasons to suspect COVID-19" | Assay: None SalivaDirect At-Home Collection Kit: 18 years and older (self-collected), 14 years and older (self-collected under adult supervision using a straw or funnel), or 2 years and older (collected with adult assistance using a straw or funnel) SalivaDirect Unsupervised Collection Kit: 18 years and older (self-collected), 14 years and older (self-collected under adult supervision using a straw or funnel), or 2 years and older (collected with adult assistance using a straw or funnel) | H | (1) without preservatives in a sterile container in the presence of a trained observer (adult trained on how to collect saliva samples), (2) at home using the SalivaDirect At-Home Collection Kit, when used consistent with its authorization, or (3) at home using the SalivaDirect Unsupervised Collection Kit when determined to be appropriate by a healthcare provider | N1,RP | Laboratories designated by the Yale School of Public Health, Department of Epidemiology of Microbial Diseases, that includes the Clinical Molecular Diagnostics Laboratory, Department of Pathology, Yale School of Medicine, located at 310 Cedar St., New Haven, CT 06510, that are also certified under the Clinical Laboratory Improvement Amendments of 1988 (CLIA), 42 U.S.C. §263a and meet the requirements to perform high complexity tests. | SalivaDirect | EUA Summary
Collection Devices only
DNA Genotek Inc. | Collection Device | Saliva Collection Device | Collection Device | Yes | Collection Device | Collection Device | No | N/A | No | No | Not Listed | N/A | ORAcollect·RNA ORE-100 and ORAcollect·RNA OR-100 (ORAcollect·RNA) saliva collection devices | Collection Device | The ORAcollect∙RNA OR-100 and ORAcollect∙RNA ORE-100 saliva collection devices are intended for use by individuals to collect, stabilize, and maintain during transport, saliva specimens suspected of containing SARS-CoV-2 ribonucleic acid (RNA). | ORAcollect∙RNA OR-100 and ORAcollect∙RNA ORE-100 saliva collection devices | EUA Summary
DNA Genotek Inc. | Collection Device | Saliva Collection Device | Collection Device | Yes | Collection Device | Collection Device | No | No | No | No | Not Listed | N/A | OMNIgene·ORAL OM-505 and OME-505 (OMNIgene·ORAL) | Collection Device | The OMNIgene·ORAL OM-505 and OME-505 (OMNIgene·ORAL) saliva collection devices are intended for use by individuals to collect, stabilize, and maintain during transport, saliva specimens suspected of containing SARS-CoV-2 ribonucleic acid (RNA). | OMNIgene·ORAL OM-505 and OME-505 (OMNIgene·ORAL) saliva collection devices | EUA Summary
Spectrum Solutions LLC | Collection Device | Saliva Collection Device | NA | ? | Unsupervised | Not Listed | No | Yes | No | No | 18 or older for unsupervised. Any age if collected by a healthcare worker. | N/A | SDNA-1000 Saliva Collection device | Collection Device | Testing is limited to laboratories certified under the Clinical Laboratory Improvement Amendments of 1988 (CLIA), 42 U.S.C. §263 using an FDA authorized in vitro diagnostic (IVD) test for the detection of SARS-CoV-2 that is indicated for use with the SDNA-1000 Saliva Collection Device. | SDNA-1000 Saliva Collection Device | EUA Summary
WREN Laboratories LLC | Collection Device | Direct to Consumer (DTC), Home Collection Kit, Saliva, Screening | NA | No | Unsupervised | individuals suspected of COVID-19 | No | Yes | No | No | Not Listed | N/A | Direct to Consumer (DTC), Home Collection Kit, Saliva, Screening | Collection Device | Testing is limited to laboratories designated by WREN Laboratories LLC that are certified under the Clinical Laboratory Improvement Amendments of 1988 (CLIA), 42 U.S.C. §263a, and meet requirements to perform high complexity tests. | WREN Laboratories COVID-19 Saliva Test Collection Kit DTC | EUA Summary
Yale School of Public Health, Department of Epidemiology of Microbial Diseases | Collection Device | Direct to Consumer (DTC), Home Collection Kit, Saliva, Screening | RT-PCR | No | Supervised if under 18 years | "any individuals, including individuals without symptoms or other reasons to suspect COVID-19" | No | Yes | No | Yes; "pooled samples containing up to five individual saliva specimens (using specified workflows) that are collected at home (which includes in a community-based setting) from any individuals, including individuals without symptoms or other reasons to suspect COVID-19" | 18 years and older (self-collected), 14 years and older (self-collected under adult supervision using a straw or funnel), or 2 years and older (collected with adult assistance using a straw or funnel) | N/A | SalivaDirect DTC Saliva Collection Kit | Collection Device | Laboratories designated by the Yale School of Public Health, Department of Epidemiology of Microbial Diseases, that includes the Clinical Molecular Diagnostics Laboratory, Department of Pathology, Yale School of Medicine, located at 310 Cedar St., New Haven, CT 06510 that are also certified under the Clinical Laboratory Improvement Amendments of 1988 (CLIA), 42 U.S.C. §263a and meet the requirements to perform high complexity tests | SalivaDirect DTC Saliva Collection Kit | EUA Summary
Yale School of Public Health, Department of Epidemiology of Microbial Diseases | Collection Device | Home Collection Kit, Saliva, Screening | RT-PCR | Yes | Unsupervised | "individuals without symptoms or other reasons to suspect COVID-19... when determined by a healthcare provider to be appropriate" | No | Yes | No | No | 18 years and older (self-collected), 14 years and older (self-collected under adult supervision using a straw or funnel), or 2 years and older (collected with adult assistance using a straw or funnel) | N/A | SalivaDirect At-Home Collection Kit | Collection Device | Testing is limited to laboratories designated by Yale School of Public Health Department of Epidemiology of Microbial Diseases, that includes the Clinical Molecular Diagnostics Laboratory, Department of Pathology, Yale School of Medicine, located at 310 Cedar St., New Haven, CT 06510, certified under the Clinical Laboratory Improvement Amendments of 1988 (CLIA), 42 U.S.C. §263a, that meet requirements to perform high complexity tests. | SalivaDirect At-Home Collection Kit | EUA Summary
Legend | Disclaimer:
H = high complexity CLIA lab | Disclaimer: This list is not an exhaustive list and is current as of the date posted. For a complete list of assays, go to: https: //www.fda.gov/medical-devices/coronavirus-disease-2019-covid-19-emergency-use-authorizations-medical-devices/in-vitro-diagnostics-euas. Projects must execute the EUA instructions exactly as stated in the FDA authorization letter and IFU (information for use). *Please refer to FDA communications (i.e. https://www.fda.gov/medical-devices/medical-device-safety/medical-device-recalls ) for applicable recalls or FDA notices on certain assays.
M = moderate complexity CLIA lab
Red text in column R = Testing MUST be performed ONLY at specified lab as per EUA letter.
Note on P6: Barrie Harper: RED text = ONLY very specific lab can perform assay.